## Overview
| Kinematics |  | Dynamics |  |  |  |  | Waves and Thermodynamics | [11 empty] | Electricity and Magnetism |  |  |  | Advanced Mechanics |  |  |  | ElectroMagnetism |  |  |  | Nature of Light
Item | Velocity | 1D Motion | Inclined planes | Newtons 2nd Law | Power | Collisions | Momentum and Kinetic Energy | Mechanical waves | Wave types | Progressive & standing waves | Resonance | Pitch & loudness | Inverse square | Wave interactions | Reflection and refraction | Total Internal Reflection | Light dispersion | Energy transfer | Latent heat | Charge | Ohm's Law | Series and parallel circuits | Power & energy | Projectile Motion | Uniform Circular Motion | Banked Track | Torque | Conductor in Magnetic Field | Parallel Current Carrying Conductors | Lenz's Law and Induction | Lenz's Law and Transformers | Velocity of Light | Spectroscopy | Diffraction | Malus' Law | Wein's Law | Photoelectric Effect
Investigations
PocketLab/PhysKyt | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  | 1 | 1 | 1 |  |  |  |  | 1 | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 1 | [6 empty] | 1
PhysBryk/PhysKyt | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  | 1 | 1 | 1 |  |  |  | 1 | 1 | 1 |  | 1 | 1 |  | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 |  | 1 | 1
PhET Sims | [7 empty] | 1 | 1 | 1 | [26 empty] | 1
Mini Slinky | [7 empty] | 1 | 1 | 1 | 1
Hodson Optical Set | [14 empty] | 1 | 1 | 1
Hodson Induction Kit | [29 empty] | 1 | 1
Diffraction grating | [33 empty] | 1
Demonstrations
Air Hockey Table | 1 |  |  | 1 |  | 1 | 1
Glass vacuum
Parallel Wires | [28 empty] | 1

## Detail
[5 empty] | Kinematics |  | Dynamics |  |  |  |  | Waves and Thermodynamics | [11 empty] | Electricity and Magnetism |  |  |  | Advanced Mechanics |  |  |  | ElectroMagnetism |  |  |  | Nature of Light
Item | Supplier | @Cost | Qty | Cost | Velocity | 1D Motion | Inclined planes | Newtons 2nd Law | Power | Collisions | Momentum and Kinetic Energy | Mechanical waves | Wave types | Progressive & standing waves | Resonance | Pitch & loudness | Inverse square | Wave interactions | Reflection and refraction | Total Internal Reflection | Light dispersion | Energy transfer | Latent heat | Charge | Ohm's Law | Series and parallel circuits | Power & energy | Projectile Motion | Uniform Circular Motion | Banked Track | Torque | Conductor in Magnetic Field | Parallel Current Carrying Conductors | Lenz's Law and Induction | Lenz's Law and Transformers | Velocity of Light | Spectroscopy | Diffraction | Malus' Law | Wein's Law | Photoelectric Effect
Investigations
PocketLab |  |  |  | 315.98
Voyager | cd-soft | 235 | 1 | 235 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  | 1 | 1 | 1 |  |  |  |  | 1 | 1 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | [6 empty] | 1
Silicon Case | cd-soft | 17.99 | 1 | 17.99
Temperature probe | cd-soft | 17.99 | 1 | 17.99 | [17 empty] | 1 | 1 | [8 empty] | 1
Pressure sensor | cd-soft | 45 | 1 | 45
0
PhysBryk |  |  |  | 118.4 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 | 1 | [5 empty] | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 1 |  |  |  | 1 |  |  | 1
Adafruit Feather nRF52840 Sense | Core Electronics | 61.95 | 1 | 61.95 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 | 1 | [5 empty] | 1 |  |  |  | 1 | 1 | 1 | 1 | 1 | [7 empty] | 1
LiPo battery 120mAh | Core Electronics | 8.95 | 1 | 8.95 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 | 1 | [5 empty] | 1 |  |  |  | 1 | 1 | 1 | 1 | 1 | [7 empty] | 1
VL53L0X Time of Flight Distance Sensor | Core Electronics | 34.52 | 1 | 34.52 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [15 empty] | 1 | 1 | 1 | 1
LTC4311 I2C Active Terminator | Core Electronics | 12.98 | 1 | 12.98
PhysKyt |  |  |  | 514.139 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [17 empty] | 1
car chassis | 3d print |  | 2 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [17 empty] | 1 | 1
car wheels (608 Bearings) x 16 | Amazon au | 30 | 0.25 | 7.5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [17 empty] | 1 | 1
Neodynium magnet cases | 3d print |  | 6 | 0 | 1 | 1 | 1 | 1 |  | 1 | 1 |  |  |  | 1
Hot Wheels Track 90 cm | Big W | 5 | 2 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [18 empty] | 1
Neodynium magnets 12mm x 6 | Bunnings | 8.9 | 1 | 8.9 | 1 | 1 | 1 | 1 |  | 1 | 1 |  |  |  | 1 | [14 empty] | 1
Banked track stand | 3d print | [28 empty] | 1
track pillar | 3d print |  |  | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [18 empty] | 1
resonance apparatus | 3d print |  |  | 0 | [10 empty] | 1
Power Resistor Kit - 10W | Core Electronics | 9.24 | 0.4 | 3.696
Regulated power source 9V | to make |  |  | 0 | [20 empty] | 1 | 1
E10 Indicator Light, Clear, 12 V, 100 mA, 10000h | RS Components | 1.194 | 3 | 3.582
E10 Indicator Bulb Holder | RS Components | 4.977 | 3 | 14.931
For PhysBryk only |  |  |  | 0
AS7341 10-Channel Spectrometer | Core Electronics | 27.6 | 1 | 27.6 | [16 empty] | 1 | [15 empty] | 1 |  |  | 1
Thermocouple Type-K | Core Electronics | 22.45 | 1 | 22.45 | [18 empty] | 1 |  |  |  | 1
MCP9600 I2C Thermocouple Amplifier | Core Electronics | 30.67 | 1 | 30.67 | [18 empty] | 1 |  |  |  | 1
INA219 High Side DC Current Sensor | Core Electronics | 16.31 | 1 | 16.31
0
Other |  |  |  | 0
Mini slinky |  | 1.5 | 1 | 1.5 | [7 empty] | 1 | 1 | 1 | 1
Hodson Optical Set | Haines | 115 | 1 | 115 | [14 empty] | 1 | 1 | 1
Hodson Induction Kit | Haines | 252 | 1 | 252
0
0
0
0
Demonstrations |  |  |  | 0
Air Hockey Table | Amazon au | 470 | 1 | 470
0
0
0
0
0
0
0
0
0
0
0
0
0

## Components
| @Cost | Qty | Cost
Regulated power source 9V |  |  | 12.352
LM317T 1.2 → 37 V Linear Voltage Regulator | 0.872 | 1 | 0.872
Potentiometer 2.5kΩ, ±10%, 1W | 8.61 | 1 | 8.61
240Ω Metal Film Resistor 0.6W ±1% LR1F240R | 0.14 | 1 | 0.14
Potentiometer Knob | 1.79 | 1 | 1.79
Press Stud 9V PP3 Battery Contact | 0.94 | 1 | 0.94
PCB
Case

## Resources
Pocketlab Lesson Index
Eagle PCB tutorial
PCB tutorial
DC motor to AC phase generator mini |  |  | 11
DC motor to AC phase generator |  |  | 60
Cylindrical perspex lens 10mm | ebay | warlondplastics. | 14
Polaroid filters, 100 x 100mm square, pair |  | Haines
LabNation BVBA Smartscope
Air Hockey Table |  | Amazon | 450
PocketLab
PhysKyt
Hot Wheels Track 12 m |  | Amazon
Ecell kit | KIT0098 |  | 29.11
resistor set | KIT-13053 |  | 9.16
650nm Red Dot Laser Diode

## Assessment & Outcomes
| 1. Kinematics | 2. Dynamics | 3. Waves and Thermodynamics | 4. Electricity and Magnetism | 5. Advanced Mechanics | 6. Electromagnetism | 7: The Nature of Light | 8: From the Universe to the Atom | AT1: Portfolio | AT2: Depth Study | AT3: Exam | Total | Pracs | Velocity | 1D Motion | Inclined planes | Newtons 2nd Law | Power | Collisions | Force and time | Mechanical waves | Wave types | Progressive & standing waves | Resonance | Pitch & loudness | Inverse square | Wave interactions | Reflection and refraction | Light dispersion | Energy transfer | Latent heat | Charge | Ohm's Law | Series and parallel circuits | Power & energy | Conolidate
PH11/12-1 |  |  |  | 1 |  | 1 | 1 |  |  | 5 |  | 5
PH11/12-2 | 1 |  |  |  |  | 1 | 1 |  | 5 | 3 |  | 8
PH11/12-3 | 1 | 1 | 1 |  |  | 1 | 1 |  | 5 | 3 |  | 8
PH11/12-4 | 1 | 1 | 1 |  | 1 | 1 | 1 |  | 5 | 4 |  | 9
PH11/12-5 | 1 |  |  | 1 | 1 | 1 |  | 1 | 5 | 5 | 5 | 15
PH11/12-6 | 1 | 1 | 1 |  | 1 |  |  | 1 |  | 5 | 5 | 10
PH11/12-7 |  |  | 1 | 1 | 1 |  | 1 | 1 |  | 5 |  | 5
PH11-8 | 1 | [7 empty] | 1 | 10 | 5 | 16
PH11-9 |  | 1 | [6 empty] | 3 |  | 5 | 8
PH11-10 |  |  | 1 | [5 empty] | 4 |  | 5 | 9
PH11-11 |  |  |  | 1 |  |  |  |  | 2 |  | 5 | 7
PH12-12 |  |  |  |  | 1 | [6 empty] | 0
PH12-13 | [5 empty] | 1 | [5 empty] | 0
PH12-14 | [6 empty] | 1 |  |  |  |  | 0
PH12-15 | [7 empty] | 1 |  |  |  | 0
Total | [8 empty] | 30 | 40 | 30 | 100

## _old_Physkit
[5 empty] | Velocity | 1D Motion | Inclined planes | Newtons 2nd Law | Power | Collisions | Force and time | Mechanical waves | Wave types | Progressive & standing waves | Resonance | Pitch & loudness | Inverse square | Wave interactions | Reflection and refraction | Light dispersion | Energy transfer | Latent heat | Charge | Ohm's Law | Series and parallel circuits | Power & energy | basic components | basic cost | deluxe | deluxe cost
order | Equipment | SKU | Vendor | Cost | [23 empty] | 136.4 |  | 180.24
y | Metre rule | TEB0423 | MTA | 15.95 | 1 | 1 | 1 | 1 | 1 | 1 | [15 empty] | 1 | 0 | 0 | 1 | 15.95
y | Ball race and ramp |  |  |  | 1 | 1 | 1 |  |  | 1 | [15 empty] | 1 |  | 0 | 1 | 0
y | Metal balls x 3 | bulk |  |  | 1 | 1 | 1 | 1 |  | 1 | [15 empty] | 1 |  | 0 | 1 | 0
| Multimeter | QM1500 | Jaycar | 7.75 | [18 empty] | 1 | 1 | 1 | 1 | 1 | 7.75 |  | 0
2017-11-15 | Hall's Car | 40215 | Haines | 22 | 1 | [20 empty] | 1 |  | 0 |  | 0
| diffraction slides double slit | [25 empty] | 1 | 0 | 1 | 0
| diffraction slides single slit | [25 empty] | 1 | 0 | 1 | 0
| diffraction grating | [26 empty] | 0 | 1 | 0
2017-11-15 | Bench pulley | 2592001 | Haines |  |  |  |  | 1 | [17 empty] | 1 |  | 0 | 1 | 0
2017-11-15 | Mass carrier & 50g masses | 4300001 | Haines |  |  |  |  | 1 | 1 | [16 empty] | 1 |  | 0 |  | 0
[28 empty] | 0 |  | 0
2017-11-28 | Polarising filters x 2 |  | daedal2005 ebay | 16.45 | [22 empty] | 1 | 16.45 | 1 | 16.45
2017-11-23 | Solenoid | AF-2776 | Littlebird | 9.13 |  |  |  | 1 | [18 empty] | 1 | 9.13 | 1 | 9.13
| Friction cube | [7 empty] | 1 | [17 empty] | 1 | 0 | 1 | 0
| ballons | [7 empty] | 1 | [18 empty] | 0 |  | 0
| spring balance | [8 empty] | 1 | [17 empty] | 0 |  | 0
| Air track | [26 empty] | 0 |  | 0
| Ripple tank | [10 empty] | 1 | [15 empty] | 0 |  | 0
| Slinkys | [10 empty] | 1 | [15 empty] | 0 |  | 0
2017-12-01 | Vacuum pump | SF-ROB-10398 |  | 22.53 | [7 empty] | 1 | [15 empty] | 0 | 1 | 22.53
y | piezo buzzer 12v | TB-AB3462 |  | 3.95 | [7 empty] | 1 | [15 empty] | 0 | 1 | 3.95
y | Bluno nano | DF-DFR0296 |  | 49.16 | [22 empty] | 1 | 49.16 | 1 | 49.16
2017-12-01 | IO shield | DFR0012 |  | 13.9 | [22 empty] | 1 | 13.9 | 1 | 13.9
y | Cylindrical lens | see bulk | [16 empty] | 1 | [7 empty] | 1 | 0 | 1 | 0
y | Breadboard | FIT0096 |  | 4.24 | [19 empty] | 1 | 1 |  | 1 | 4.24 | 1 | 4.24
| Breadboard power supply | DFR0140 |  | 6.66 | [19 empty] | 1 | 1 |  | 1 | 6.66 | 1 | 6.66
2017-12-01 | Ecell kit | KIT0098 |  | 29.11 | [19 empty] | 1 | 1 |  | 1 | 29.11 | 1 | 29.11
2017-12-01 | resistor set | KIT-13053 |  | 9.16 | [23 empty] | 0 | 1 | 9.16
| nichrome wire (bulk) | [22 empty] | 1 | 1 | 1 |  | 0 | 1 | 0
| STEMtera |  |  | 65 | [19 empty] | 1 | 1 |  |  | 0 |  | 0
| conductivity set | [23 empty] | 1 |  |  | 0 | 1 | 0
| incandescent globe | [22 empty] | 1 |  | 1 | 1 | 0 | 1 | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0

## _old_Pkhyskit3
ID# | Materials | Quantity | Price | Total | Vendor ID |  | Little Bird Order
| 20mm PVC end cap | 1 | 1.7 | 1.7 |  | Qty | SKU | Item | Price | Quantity | Cost
| 20mm PVC coupling | 2 | 1.1 | 2.2 |  | 8 | TB-ZD0293 | LED 5MM CLR RED 23500MCD | 5.45 | 8 | 43.6 | TB-ZD0293 LED 5MM CLR RED 23500MCD
| 20mm PVC pipe 1m | 0.25 | 2.99 | 0.7475 |  | 1 | TB-RR0548 | 100 ohm resistors x 8 | 0.55 | 1 | 0.55 | TB-RR0548 100 ohm resistors x 8
| 23500mcd Blue LED | 1 | 5.45 | 5.45 |  | 8 | FIT0096 | Breadboard | 4.24 | 8 | 33.92 | FIT0096 Breadboard
TB-RR0548 | 100 ohm resistor pkt of 8 | 0.125 | 0.55 | 0.06875 |  | 8 | DFR0250 | Breadboard power supply | 8.63 | 8 | 69.04 | DFR0250 Breadboard power supply
1883030 | Polaroid filter 100 x 100 mm pair | 0.125 | 37.3 | 4.6625 |  | 4 | KIT0098 | Ecell kit | 29.11 | 4 | 116.44 | KIT0098 Ecell kit
FIT0096 | Breadboard | 1 | 4.24 | 4.24 |  | 8 | AF-356 | Breadboard trim potentiometer [10K] | 1.83 | 8 | 14.64 | AF-356 Breadboard trim potentiometer [10K]
DFR0250 | Breadboard power supply | 1 | 8.63 | 8.63 |  | 1 | PL-1708 | Jumper wire M-M 3" | 15.33 | 1 | 15.33 | PL-1708 Jumper wire M-M 3"
KIT0098 | Ecell kit | 0.5 | 29.11 | 14.555 |  | 1 | PL-1720 | Jumper Wire 10-Pack M-F 6" Black | 4.19 | 1 | 4.19 | PL-1720 Jumper Wire 10-Pack M-F 6" Black
| Batteries |  |  |  |  | 1 | PL-1722 | Jumper Wire 10-Pack M-F 6" Red | 4.19 | 1 | 4.19 | PL-1722 Jumper Wire 10-Pack M-F 6" Red
| mini-slinky | 0.083333 | 18.62 | 1.5517 |  | 1 | PL-1740 | Jumper Wire 10-Pack F-F 12" Black | 6.99 | 1 | 6.99 | PL-1740 Jumper Wire 10-Pack F-F 12" Black
| breadboard potentiometer | 1 | 1.83 | 1.83 |  | 1 | PL-1742 | Jumper Wire 10-Pack F-F 12" Red | 6.99 | 1 | 6.99 | PL-1742 Jumper Wire 10-Pack F-F 12" Red
QM1323 | Cat III Multimeter with Temperature | 1 | 39.95 | 39.95 |  | 1 | AF-290 | Solid-Core Wire Spool - 25ft - 22AWG - Black | 4.32 | 1 | 4.32 | AF-290 Solid-Core Wire Spool - 25ft - 22AWG - Black
[6 empty] | 1 | AF-288 | Solid-Core Wire Spool - 25ft - 22AWG - Red | 4.32 | 1 | 4.32 | AF-288 Solid-Core Wire Spool - 25ft - 22AWG - Red
| Total |  |  | 85.5854 | [6 empty] | 324.52
| LabNation BVBA Smartscope | 1 | 329.67
Sets
| Teacher | 1 | 415.2554
| Bundarra | 1 | 85.5854
| Quirindi | 1 | 85.5854
| Colleambly | 1 | 85.5854
| Gunnedah | 2 | 171.1708
| Young | 1 | 85.5854
| Total |  | 928.7679

## calculations
V | R | I | P
9 | 10 | 0.9 | 8.1